## Sheet1
Device Sensitivity testing
Measured as capacitance change
Baseline Capacitance observed with no catheter | 69-70 | 23:15
With catheter | 67.2 - 67.8
With catheter with water with flow | 61.2 - 62.6
With Catheter with water no flow | 62.45-63.10
Flow duration required to observe flow | 5 min | 2min | 1min | 45sec | 30sec | 15sec | 10sec
| Yes | Yes | Yes | Yes | Yes | Yes | No
Capacitance change observed | 61.35-62.50
2:29:15 sec for 100ml | Time taken 12 sec of constant flow
Flow amount used to calculate above
Catheter material and diameter
Pump 2 - Fan Pump
Baseline Capacitance observed with no catheter | 73.4-73.8 | 0:25
With catheter | 69.0 - 69.7
With catheter with water with flow | 66.03 - 66.67
With Catheter with water no flow | 65.59-66.32
Flow duration required to observe flow | 5 min | 2min | 1min | 45sec | 20sec | 15sec | 10sec
| Yes | Yes | Yes | Yes | Yes | No | No
Capacitance change observed
6:03:25 sec for 100ml
Flow amount used to calculate above
Catheter material and diameter
Pump 3 - Controlled Pump
Baseline Capacitance observed with no catheter | 67.14-67.77 | 0:25
With catheter | 66.54-67.10
With catheter with water with flow | 66.03 - 66.67
With Catheter with water no flow | 61.56 - 62.30
Flow duration required to observe flow | 5 min | 2min | 1min | 45sec | 20sec | 15sec | 10sec
| Yes | Yes | Yes | Yes | Yes | No | No
Capacitance change observed
6:03:25 sec for 100ml
Flow amount used to calculate above
Catheter material and diameter
| 67.5-68.5 | 2:44
Sealed Container - | 324-328 uf
With moisture | 336-340
Silicone Rubber tubing
Sturdy transparent vinyl tubing